{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Projekttypen","Berechnung","Ausgabe"],"not_rendered":{"charts":3,"images":0,"macros":1,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Projekttypen","index":0,"n_rows":420,"n_cols":8,"rows_kept":420,"cut":false,"hidden":false,"merged":[]}
["Kategorisierung",null,"Stand 29.1.2013/Mg"]
[]
["Projekttyp","Objektart","Raum","abgestimmte Werte","Störspektrum eigeben"]
[null,null,null,null,"Sonderfall",null,null,"Sonderfall Vorgabe Spektrum Pflicht"]
["Gesundheit","Altenheime","Zimmer",70,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0,null,null,"Sonderfall"]
[null,null,"Versammlungsraum/Kantine",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Hauskapelle",70,0]
[null,null,"Technikraum","X","S "]
[null,null,null,0,0]
[null,"Pflegeheime","Zimmer",70,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Versammlungsraum/Kantine",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Hauskapelle",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Krankenhäuser","Zimmer",70,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Versammlungsraum/Kantine",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Hauskapelle",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Ärztehaus","Arztzimmer",70,0]
[null,null,"Behandlungsraum",70,0]
[null,null,"Wartezimmer",70,0]
[null,null,"Flur",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Kurhaus","Zimmer",70,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Versammlungsraum/Kantine",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Verwaltung",70,0]
[null,null,null,0,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Rehaklinik","Zimmer",70,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Versammlungsraum/Kantine",80,0]
[null,null,"Gruppenraum",80,0]
[null,null,"Behandlungsraum",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Therapiebad",80]
[null,null,"Sanitärraum",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
["Bildung","Kitas","Gruppenraum",90,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Umkleideraum",80,0]
[null,null,"Ruheraum",70,0]
[null,null,"Speiseraum",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Turnhalle",90,0]
[null,null,"Spielplatz/Pausenhof",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Schulen","Unterrichtsraum",70,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Lehrerzimmer",70,0]
[null,null,"Aula",80,0]
[null,null,"Turnhalle",80,0]
[null,null,"Umkleideraum",80,0]
[null,null,"Werkraum/Schulküche",80,0]
[null,null,"Mensa",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Schulhof/Pausenhof",90,0]
[null,null,"Verwaltung",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Berufsschulen","Unterrichtsraum",70,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Aula",80,0]
[null,null,"Turnhalle",80,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Lehrerzimmer",70,0]
[null,null,"Mensa",80,0]
[null,null,"Werkraum Holz",90,"S"]
[null,null,"Werkraum KFZ",90,"S"]
[null,null,"Werkraum Maurer",80,0]
[null,null,"Werkraum Metall",90,"S"]
[null,null,"Werkraum Elektro",80,0]
[null,null,"Werkraum Naturwissenschaft",70,0]
[null,null,"Lehrküche",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Hochschulen","Seminarraum",70,0]
[null,null,"Hörsaal",70,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Audimax",80,0]
[null,null,"Turnhalle",80,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Werkraum Akustik",80,0]
[null,null,"Werkraum Holz",90,"S"]
[null,null,"Werkraum KFZ",80,"S"]
[null,null,"Werkraum Hoch- und Tiefbau",80,0]
[null,null,"Werkraum Metall",90,"S"]
[null,null,"Werkraum Elektro",80,0]
[null,null,"Werkraum Naturwissenschaft",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Mensa",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Labor",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
["Büro-, Verwaltungs- und Regierungsgebäude","Büro-, Verwaltungs- und Regierungsgebäude","Einzelbüro",70,0]
[null,null,"Mehrpersonenbüro",70,0]
[null,null,"Großraumbüro",70,0]
[null,null,"Flur",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Foyer",80,0]
[null,null,"Besprechungsraum",70,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Vortragsraum",70,0]
[null,null,"Kantine",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Plenarsaal/Veranstaltungssaal",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
["Einkaufen","Kaufhäuser/Malls","Verkaufsraum",70,0]
[null,null,"Flur",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Atrium/Mall",80,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Pausenraum",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Service/Werkstatt",80,0]
[null,null,"Lager",80,0]
[null,null,"Foodcourt/Gastrobereich",80]
[null,null,"Verwaltung",70,0]
[null,null,"Parkhaus/Parkfläche",70,0]
[null,null,"Außenverkauf",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
["Beherbergungsstätten/Gastronomie","Hotel","Zimmer/Bad",70,0]
[null,null,"Flur",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Foyer/Lobby",70,0]
[null,null,"Frühstücksraum",70,0]
[null,null,"Wellnessbereich/Fitnessbereich",80,"S"]
[null,null,"Umkleideraum",70,0]
[null,null,"Sanitär",70,0]
[null,null,"Tagungsraum",70,0]
[null,null,"Ballsaal",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Restaurant","Speiseraum",80]
[null,null,"Küche",80,0]
[null,null,"Sanitär",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Lager",80,0]
[null,null,"Kühlraum",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Nachtclub/Bar","Gastraum",80,0]
[null,null,"Sanitär",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Lager",80,0]
[null,null,"Kühlraum",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Musikgastronomie/Diskothek","Gastraum",80,"S"]
[null,null,"Sanitär",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Lager",80,0]
[null,null,"Kühlraum",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Jugendherberge","Zimmer/Bad",80,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Foyer/Lobby",80,0]
[null,null,"Gruppenraum",80,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Sanitär",70,0]
[null,null,"Speiseraum",80]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
["Industrie","Industrie","Fertigungshalle",90,"S"]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Kantine",80,"S"]
[null,null,"Sanitär",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Kantine doppelt",0,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
["Kultur/Sport","Museum","Ausstellungsraum",70,0]
[null,null,"Foyer",70,0]
[null,null,"Sanitär",70,0]
[null,null,"Flure",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Café/Kantine",80,"S"]
[null,null,"Lager",80,0]
[null,null,"Archiv",70,0]
[null,null,"Werkstatt",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Opernhaus/Theater/Konzerthaus/Mehrzweckhalle","Zuschauerraum",70,0]
[null,null,"Bühne/Hinterbühne",80,0]
[null,null,"Garderobe",70,0]
[null,null,"Foyer",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Flur",70,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Künstlergarderobe",80,0]
[null,null,"Maske",70,0]
[null,null,"Probenraum",80,0]
[null,null,"Werkstatt",80,"S"]
[null,null,"Lager/Requisite",80,0]
[null,null,"Regieraum",70,0]
[null,null,"Kantine",80,0]
[null,null,"Konferenzsaal",70,0]
[null,null,"Seminarraum",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Produktionsstudio",70]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Arena/Großspielstätte","Zuschauerraum",90,0]
[null,null,"Flur",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Foyer",80,0]
[null,null,"Garderobe",70,0]
[null,null,"Logen",70,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Pressekonferenzraum",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Werkstatt",80,"S"]
[null,null,"Lager",80,0]
[null,null,"Regieraum",70,0]
[null,null,"Cateringbereich",80,0]
[null,null,"VIP-Bereich",70,0]
[null,null,"Feuerwehr/Polizei",70,0]
[null,null,"Sanitätsraum",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Küche",80,0]
[null,null,"Mixed Zone",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Kino","Foyer",80,0]
[null,null,"Sanitär",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Flur",70,0]
[null,null,"Kinosaal",70,0]
[null,null,"Projektionsraum",70]
[null,null,"Verwaltung",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Lager",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Sporthalle","Sportfläche",80,0]
[null,null,"Zuschauerbereich",90,0]
[null,null,"Garderobe",70,0]
[null,null,"Foyer",80,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Flur",70,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Kraftraum/Fitness",70,0]
[null,null,"Vereinsraum",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"Lager",80,0]
[null,null,"Regieraum",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Stadion","Spielfläche",70,0]
[null,null,"Zuschauerbereich",90,0]
[null,null,"Umkleideraum",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Flur",80,0]
[null,null,"Foyer",80,0]
[null,null,"Garderobe",80,0]
[null,null,"Pressekonferenzraum",80,0]
[null,null,"VIP-Bereich",70,0]
[null,null,"Mixed Zone",80,0]
[null,null,"Logen",70,0]
[null,null,"Küche",80,0]
[null,null,"Cateringbereich",80,0]
[null,null,"Regieraum",70,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Feuerwehr/Polizei",70,0]
[null,null,"Sanitätsraum",70,0]
[null,null,"EDV-Raum",70,0]
[null,null,"Werkstatt",80,"S"]
[null,null,"Lager",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
["Messehalle","Messehalle","Ausstellungshalle",80,0]
[null,null,"Garderobe",70,0]
[null,null,"Foyer/Atrium",80,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Flure",70,0]
[null,null,"Sanitär",70,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Werkstatt",80,"S"]
[null,null,"Lager",80,0]
[null,null,"Regieraum",70,0]
[null,null,"Technikraum","X","S"]
[null,null,"Kantine",80,0]
[null,null,"Restaurant",80,"S"]
[null,null,"Konferenzsaal",70,0]
[null,null,"Seminarraum",70,0]
[null,null,"EDV",70,0]
[null,null,"Verwaltung",70,0]
[null,null,"Freiflächen",70,0]
[null,null,"Parkhaus",70,"S"]
[null,null,null,0,0]
["Verkehr","Bahnhof","Bahnsteig (Verkehrsstation) in Halle",80,"S"]
[null,null,"Bahnsteig offen",80,"S"]
[null,null,"Bahnhofshalle",80]
[null,null,"Schalterhalle/Servicezentrum",80,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Verbindungstunnel",80,0]
[null,null,"Technikraum","X","S"]
[null,null,"Verwaltung",70,0]
[null,null,"Werkstatt",70,"S"]
[null,null,"Gastronomie",80,0]
[null,"Flughafen","Terminal",80,0]
[null,null,"Abfertigungshalle",80]
[null,null,"Check-in",80,0]
[null,null,"Abflughalle/Gatebereich",70]
[null,null,"Mall",70]
[null,null,"VIP-Bereich",70,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Verbindungsgang",70,0]
[null,null,"Flur",70,0]
[null,null,"Gangway",70,0]
[null,null,"Ankunftshalle",70]
[null,null,"Gepäckbandhalle",80,0]
[null,null,"Polizei/Zoll",70,0]
[null,null,"Feuerwehr",70,0]
[null,null,"Technikraum","X","S"]
[null,null,"Verwaltung",70,0]
[null,null,"Werkstatt/Hangar",80,"S"]
[null,null,"Flugsicherheit/Tower",70,0]
[null,null,"Umkleide",70,0]
[null,null,"Kantine",80,0]
[null,null,"EDV",70,0]
[null,null,"Gastronomie",80,0]
[null,"Tunnel","Röhre",70]
[null,null,"Technikraum","X","S"]
[null,null,"Fluchtweg",70,0]
[null,null,null,0,0]
[null,null,null,0,0]
["Freizeit","Freizeitbad/Sportbad","Aquabereich Spaß",90]
[null,null,"Aquabereich Sport",80]
[null,null,"Foyer/Kasse",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Flur",80,0]
[null,null,"Außenbecken",90]
[null,null,"Aufenthaltsbereich",80,0]
[null,null,"Liegewiese",70,0]
[null,null,"Zuschauerbereich",80,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Sanitärraum",70,0]
[null,null,"Saunabereich",70,0]
[null,null,"Ruheraum",70,0]
[null,null,"Wellnessbereich",70,"S"]
[null,null,"Cateringbereich",80]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,null,0,0]
[null,"Indoor-Eventhalle","Eventbereich",80,"S"]
[null,null,"Zuschauerbereich",80,0]
[null,null,"Umkleideraum",70,0]
[null,null,"Foyer/Kasse",70,0]
[null,null,"Treppenhaus",80,0]
[null,null,"Flur",70,0]
[null,null,"Sanitär",70,0]
[null,null,"Cateringbereich",80]
[null,null,"Materialausgabe",80,0]
[null,null,"Verwaltung",70,0]
[null,null,"Technikraum","X","S"]
[null,null,"Werkstatt",80,"S"]
[null,null,null,0,0]
[null,"Außenbereich/nicht überdacht","Eventbereich",80,"S"]
[null,null,"Zuschauerbereich",80,0]
[null,null,"Verkehrsfläche",80,0]
[null,null,"Cateringbereich",80,0]
[null,null,"Kasse",70,0]
["eol","eol","eol"]

{"sheet":"Berechnung","index":1,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":true,"merged":[]}
["Mittenfrequenz [Hz]","Input Noise [dB lin]","Input T","T","Personenschall [dB]","Noise [dB]","Noise (Sum) [dB]","A_eff"]
[125,null,null,null,69.954229213459087,null,null,8.15]
[250,null,null,null,72.354229213459092,null,null,8.15]
[500,null,null,null,66.254229213459084,null,null,8.15]
[1000,null,null,null,60.254229213459084,null,null,8.15]
[2000,null,null,null,54.254229213459098,null,null,8.15]
[4000,null,null,null,50.354229213459092,null,null,8.15]
[8000,null,null,null,49.054229213459088,null,null,8.15]
[]
["100 Hz",null,null,null,65.183016666262461]
["125 Hz",null,null,null,65.183016666262461]
["160 Hz",null,null,null,65.183016666262461]
["200 Hz",null,null,null,67.583016666262466]
["250 Hz",null,null,null,67.583016666262466]
["315 Hz",null,null,null,67.583016666262466]
["400 Hz",null,null,null,61.483016666262458]
["500 Hz",null,null,null,61.483016666262458]
["630 Hz",null,null,null,61.483016666262458]
["800 Hz",null,null,null,55.483016666262458]
["1000 Hz",null,null,null,55.483016666262458]
["1250 Hz",null,null,null,55.483016666262458]
["1600 Hz",null,null,null,49.483016666262472]
["2000 Hz",null,null,null,49.483016666262472]
["2500 Hz",null,null,null,49.483016666262472]
["3150 Hz",null,null,null,45.583016666262459]
["4000 Hz",null,null,null,45.583016666262459]
["5000 Hz",null,null,null,45.583016666262459]
["6300 Hz",null,null,null,44.283016666262462]
["8000 Hz",null,null,null,44.283016666262462]
["10 kHz",null,null,null,44.283016666262462]
[]
["Einzelwert"]
[]
[]
[]
[]
[]
["Volumen [m³]"]
["Personenzahl"]
[]
["abgestimmter Wert"]
["Sonderfall"]

{"sheet":"Ausgabe","index":2,"n_rows":28,"n_cols":7,"rows_kept":28,"cut":false,"hidden":false,"merged":[[1,0,1,1],[3,0,3,1],[6,0,6,1],[8,0,8,1],[24,1,24,2],[2,1,2,2],[4,1,4,2],[7,1,7,2],[9,1,9,2],[10,0,10,1],[11,1,11,2],[14,1,15,2],[19,1,19,2],[20,1,23,2]]}
[]
["Projektname:"]
[null,null,null,null,"Frequenzband","Schalldruck","Nachhallzeit"]
["Raumname:",null,null,null,"[Hz]","[dB]","[s]"]
[null,null,null,null,"100 Hz",null,2]
[null,null,null,null,"125 Hz",null,2]
["Objekttyp:",null,null,null,"160 Hz",null,2]
[null,null,null,null,"200 Hz",null,2]
["Projekttyp:",null,null,null,"250 Hz",null,2]
[null,null,null,null,"315 Hz",null,2]
["Raumtyp:",null,null,null,"400 Hz",null,2]
[null,null,null,null,"500 Hz",null,2]
[null,null,null,null,"630 Hz",null,2]
[null,null,null,null,"800 Hz",null,2]
[null,"Von der Beschallungsanlage erzeugter Schalldruckpegel am Ort des Empfängers:",null,null,"1000 Hz",null,2]
[null,null,null,null,"1250 Hz",null,2]
[null,null,null,null,"1600 Hz",null,2]
[null,null,null,null,"2000 Hz",null,2]
[null,null,null,null,"2500 Hz",null,2]
[null,"Sprachverständlichkeit:",null,null,"3150 Hz",null,2]
[null,null,null,null,"4000 Hz",null,2]
[null,null,null,null,"5000 Hz",null,2]
[null,null,null,null,"6300 Hz",null,2]
[null,null,null,null,"8000 Hz",null,2]
[null,null,null,null,"10 kHz",null,2]
[]
[null,null,null,null,"Volumen [m³]",null,100]
[null,null,null,null,"Personenzahl",null,1]